## ROI Calculator
Item | VARIABLES | VALUE | UNIT
1 | LED - Wattage | 100 | Watts | PLEASE FILL IN THE DATA IN YELLOW
2 | LED - Single Unit Cost | 780 | Rand
3 | Current Wattage | 400 | Watts
4 | Current Single Unit Lamp Cost | 160 | Rand
5 | Number of Lamps | 24 | Lamp(s)
6 | Running Time Per Day | 2 | Hours
7 | Operational Days (per year) | 200 | Days
8 | Cost of energy / KwHrs | 1.57 | Rand
Item | CALCUATIONS | CURRENT | LED
A | Electrical Costs
9 | Electrical Load of Lamp(s) | 9600 | 2400
10 | Running Time Per Year in Hours | 400 | 400
11 | Energy Consumed per year (KwHrs) | 3840 | 960
12 | Electrical Demand Saving (KwHrs) | 0 | 2880
13 | Total Cost of Energy (per year) | 6028.8 | 1507.2
14 | Savings Electrical (per year) | 0 | 4521.6
B | Capital Requirements
15 | Purchase Costs | 3840 | 18720
C | Maintenance Requirements
16 | Life Time of lamp (operating hrs) | 1500 | 50000
17 | Replacements required (per year) | 6.4 | 0.192
18 | Replacement Costs (per year) [38 x 4] | 1024 | 149.76
19 | Total Maintenance Costs (per year) | 1024 | 149.76
20 | Saving Maintenance (per year) | 0 | 874.24
Item | ROI RESULTS | CURRENT | LED
21 | Total Operating Cost (per Year) | 7052.8 | 1656.96
22 | Total Savings First Year Savings Electrical + Savings Maintenance | 0 | 5395.84
23 | Payback Period in Months | n/a | 41.6321
24 | LED Savings over 5 Years incl inflation of 10% | 0 | 32942.1428